## Slide 1
EPFL,
Laboratoire de Systèmes Robotiques
Institut of MicroTechnology
Philipp Hörler
Jean-Paul Kneib
02.03.2017
Micro-Positioners for Astrophysical Surveys

## Slide 2: Outline
Project Introduction
Positioner Design
Electronic board
Collision avoidance
Test bench for performance assessment
Manufacturing strategy

## Slide 3
History of the expansion of the universe
Context
Recent acceleration => Dark Energy ?

## Slide 4: Context
Focal plane
Spectrograph
The goal of many astronomical surveys is to measure the history of the expansion of the universe
For that a 3 dimensional map of the universe is measured
The distance of millions of objects is measured using the spectrum (redshift) of their light
Optical fibres allow for parallel measurements of thousands of objects at once

## Slide 5: Context
A fiber positioner robot is a 2 DOF, planar robot with a SCARA like kinematic with almost parallel axes (curved focal surface)
Its purpose is to position an optical fibre which will collect the light of a star or a distant galaxy
To maximize the number of observable targets, thousands of positioners are mounted in a high-density array

## Slide 6: Context
The 3 main projects in development today are PFS, DESI and MOONS
The astrobots group at EPFL contribute to all of them and is also planning future projects

## Slide 7
DESI
Focal plane

## Slide 8
DESI

## Slide 9: One focal plane petal
500 Positioners
Support plate
Focal surface
Fibre spoolbox
GFA sensor
Cooling for GFA
Fibre routing
Fibre and electronic
bundling

## Slide 10: Prototype of the DESI positioner

## Slide 11: Positioner requirements (MOONS Project)
Item | Requirement
XY Error accuracy/precision | < 20µm
Z Error (defocus) | < 70µm
Tilt Error | < 0.15°
Reconfiguration time | < 30 s
Throughput loss due to FRD | < 3%
Power while active | < 2W
Power while sleep | 0W
Lifetime | 10^6 targets / 10 years
Workspace | Annular shape, 50 mm OD, 18 mm ID
Risk of collision with adjacent fibres/cables | minimized
  Challenges

## Slide 12: Tilt definition
α
β
f
α
β
g
f
0°
0.24°
0.11°
Target angles
Tolerance: ±0.15°
4m

## Slide 13
XY error < 20µm
  The XY error is the sum of the accuracy and precision
  The accuracy can be very good (<5µm) thanks to calibration
Tilt error < 0.15°
  The biggest challenge because it cannot be calibrated
  Errors from all stages sum up
Throughput loss due to FRD < 3%
  Happens because of stress in the fibre
  => Bending radius has to be maximized
  => Contact with sharp edges has to be avoided
Risk of collision with adjacent fibres/cables
  As the upper stages rotate, the fibre and cables are moved
  If they collide with adjacent fibres or cables, they can get stuck.
Positioner requirements

## Slide 14: Outline
Project Introduction
Positioner Design
Electronic board
Collision avoidance
Test bench for performance assessment
Manufacturing strategy

## Slide 15
Positioner design history at EPFL
V1
V2
V3

## Slide 16
V1
V2
Fibre path is optimised
Design history - V1 to V2

## Slide 17
V2
External bearings on upper axis
V3
Design history - V2 to V3

## Slide 18
V1
V2
V3
Design history – V1,2,3

## Slide 19
V3 Positioner
Fibre
Ball bearings
Ball bearings
Motor coupling
Alpha hardstop
Beta hardstop
Microswitch
Lollipop feature
Nut for preload

## Slide 20
V3 Positioner
Lollipop feature
Fibre
Alpha hardstop

## Slide 21
V3 Positioner prototypes

## Slide 22
V3 Positioner prototypes

## Slide 23
V3 Positioner prototypes

## Slide 24: Outline
Project Introduction
Positioner Design
Electronic board
Collision avoidance
Test bench for performance assessment
Manufacturing strategy

## Slide 25
Complete motor driver for 2 DC brushless motor including:
  Power electronic
  Position controller: open or closed loop
  Trajectory interpolation
  Communication interface (CAN bus)
Key points
  Power consumption
  Space envelope
Drive electronic board

## Slide 26
Drive electronic board - Communication

## Slide 27
V3 Positioner prototypes

## Slide 28
Electrical connection

## Slide 29
Cabling

## Slide 30: Outline
Project Introduction
Positioner Design
Electronic board
Collision avoidance
Test bench for performance assessment
Manufacturing strategy

## Slide 31: Shared work-spaces
0%
10%
0%
0%
0%
63%
27%
0%
Notes: Magenta : 71.87mm2
Green: 169.51 mm2
Cyan: 29.26mm2
Total: 270.63mm2

## Slide 32: Challenges
  Guarantee collision avoidance
  Consider low planning and motion time
  Take into account dynamic constraints

## Slide 33: Solution
Artificial potential functions (Navigation functions)
  Repulsive force from other positioners
  Attractive force from the target

## Slide 34: Test on hardware
https://www.youtube.com/watch?v=Hc_Pr_hhaNA

## Slide 35: Outline
Project Introduction
Positioner Design
Electronic board
Collision avoidance
Test bench for performance assessment
Manufacturing strategy

## Slide 36
Robot
Camera
Screen
Fibre
α
d
x1
x2
Metrology : Characterization Principle

## Slide 37
Robot
Camera
Camera
Beam splitter
Screen
Screen
Fibre
α
x2
x1
Metrology : Characterization Principle

## Slide 38
Laser
Pinhole
Camera
Camera
Beam splitter
Screen
Screen
Beam splitter
Baseplate
Align the laser on a mirror on the baseplate (our reference)
When the reflected beam goes back to the emitter, the laser is perpendicular to the baseplate and that is our reference
Characterization Test Bench Calibration
Mirror

## Slide 39
Tilt Test bench

## Slide 40
Tilt Test Bench : Reference calibration

## Slide 42
Test results

## Slide 43: Position Repeatability

## Slide 44
Position Repeatability

## Slide 45: Tilt results
V3 Nr4
300 angles measured

## Slide 46: Tilts
V3 Nr4
V3 Nr6

## Slide 47: Outline
Project Introduction
Positioner Design
Electronic board
Collision avoidance
Test bench for performance assessment
Manufacturing strategy

## Slide 48: MOONS Positioner manufacturing
EPFL and STFC (Edinburgh) have made designs and prototypes
Final design review (FDR) of the design: End of March 2017
  This liberates the funding for manufacturing
Public tender (issued following FDR) will include
  Manufacturing of parts
  Manufacturing or acquisition of drive electronic board
  Assembly of the positioner
  Quality assessment of the positioner
The public tender will not fix a mechanical design
EPFL and STFC designs will be given as reference

## Slide 49: MOONS Positioner manufacturing schedule
Public tender for positioner design issued: April 2017
Public tender answer deadline: End of May 2017
Evaluations: June 2017
In discussion:
Preselection of 3 companies for prototype manufacturing: July 2017
Evaluations of prototypes: October 2017
Contract for manufacturing: July 2017 or November 2017
Goal of overall project: Assembly of 1000 positioners starting summer 2018

## Slide 50
10 positioners demo move
https://www.youtube.com/watch?v=_S8JIjHawv0